| FIELD SERVICE REPORT |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ISO Certified 9001-2015 |  | TriStar Engineers & Services D-514, Kalindi Vihar, Agra M#9045254014, 4016, 4012, 9557528916 Email- support@tristarengineer.com, tsesagra@gmail.com |  |  |  |  |  | CRM ID: BOB-AGR1287 |  |  |
|  |  |  |  |  |  |  |  | Call | Date | Time |
|  |  |  |  |  |  |  |  | Received On | 2025-12-07 |  |
|  |  |  |  |  |  |  |  | Attended On | 2025-12-08 |  |
|  |  |  |  |  |  |  |  | Cognised On | 2025-12-08 |  |
| Customer Name & Address: Bank of Baroda Etawah Main Branch Etawah |  |  |  |  |  |  | Contact Person | Branch Manager |  |  |
|  |  |  |  |  |  |  | Contact Number | 8477000302 |  |  |
|  |  |  |  |  |  |  | Email ID | etawah@bankofbaroda.com |  |  |
|  |  |  |  |  |  |  | Website |  |  |  |
| Nature of Complaints: Break Down, IM |  |  |  |  |  |  |  |  |  |  |
| Serial Number: undefined |  |  |  |  | Model: 5KVA |  |  | Capic: 5KVA |  |  |
| Product: UPS, Battery |  |  |  |  |  |  |  |  |  |  |
| Configuration: Single |  |  |  |  |  |  |  |  |  |  |
| Battery Details: Type: SMF VRLA, AH: 12V 100AH, No of Batteries: 16, Make: Amaron Quanta, Batch No: 2023, No of Strings: 1 |  |  |  |  |  |  |  |  |  |  |
| Type of Faults | Static Switch, Control Supply |  |  |  |  |  |  |  |  |  |
| Complaint Details |  |  |  |  |  |  |  |  |  |  |
| Diagnosis / Observation: |  |  | UPS Faulty |  |  |  |  |  |  |  |
| Collective Action / Remarks |  |  | Ups Repaired |  |  |  |  |  |  |  |
|  | I/P Volts |  |  |  | DC Output |  |  | Battery |  |  |
| Important | RN |  | YN | BN | VOLT | AMP |  | VOLT | AMP |  |
| Parameters | 243 |  |  |  | 235 |  |  | 216 |  |  |
|  | O/P Volts |  |  |  | O/P AMPS |  |  | I/P Earth Volt |  |  |
| Important | RN |  | YN | BN | R | Y | B | PE | NE |  |
| Parameters | 232 |  |  |  |  |  |  |  |  |  |
| Components Replaced if any |  |  |  |  |  |  |  |  |  |  |
| S. No. | Description |  |  |  |  |  |  |  | Quantity |  |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| Components Need to Replace |  |  |  |  |  |  |  |  |  |  |
| S. No. | Description |  |  |  |  |  |  |  | Quantity |  |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| Technical Suggestion if any :- Ups Repaired and Working Ok With Backup Mode |  |  |  |  |  |  |  |  |  |  |
| Customer Comments if any |  |  |  |  |  |  |  |  |  |  |
| Reported Complaints have been Rectified, Servicing Done to Our Satisfaction. We agree to pay your Charges for the same if applicable |  |  |  |  |  |  |  |  |  |  |
| Customer Sign & Seal Contact Name: Bank of Baroda Designation: Branch Manager Contact Number: |  |  |  | Equipment is OK |  | NO | Connected Load:- Engineer Name: Satyaprakash Engineer Contact: 9045254012 SATYAPRAKASH |  |  |  |
|  |  |  |  | Equipment is Not OK |  | NO |  |  |  |  |
|  |  |  |  | Call Carried Over |  | NO |  |  |  |  |
|  |  |  |  | Call Chargeable |  | NO |  |  |  |  |
| Customer Care Number : 9045254014 |  |  |  |  | Email : support@tristarengineer.com |  |  | Tristarengineer.com |  |  |